|  | Application form (Annex 5) |  |  |
| --- | --- | --- | --- |
|  | DE-UZ 217a – Edition January 2026 | Paper made from 100% recovered paper for paper bags and boxes |  |

This annex applies to the wastewater treatment plant operator (indirect discharge)!!

Information about the operator of the waste water treatment plant

| Company name: |  |
| --- | --- |
| Full address: |  |

- 3.14 Waste Water

The following requirements apply with regard to waste water:

| Parameter | Maximum limit for waste water emissions (average annual value as a load or concentration) |  |
| --- | --- | --- |
|  | Paper factory with deinking | Paper factory without deinking |
| CSB | <3 kg/Adt | <1.2 kg/Adt |
| BOD5 | <0.15 kg/Adt or <25 mg/l |  |
| Total N (inorganic + organic N) (TNb) | 0.07 kg/Adt or 15 mg/l |  |
| Total P | 0.008 kg/Adt or 1.2 mg/l |  |

Adt = air dried ton

TNb = total nitrogen bound. This parameter defines the total pollution of water by nitrogen compounds, which can appear in the form of e.g. ammonia, nitrites, nitrates or organic nitrogen compounds. A suitable method for determining this parameter is DIN EN ISO 20236.

| We hereby declare compliance with the limit values ​​listed in the table. |  |
| --- | --- |

| Location: |  |  |  |
| --- | --- | --- | --- |
| Date: |  |  |  |

Legally binding signature / company stamp