## General data
IT Inventory List - General Information on the Energy Efficiency Report on the award criteria DE-UZ 214
General data
Data center
Designation:
Address:
Other:
Data center operator
Designation:
Address:
Website:
Other:
Data provision by
Name:
Mail:
Balance date from:
Balance date until:
Date of data provision:
Other:
Annex:
Anlage 2a IT-Inventarliste - Server
Anlage 2b IT-Inventarliste - externe Speicher-Systeme
Anlage 2c IT-Inventarliste - Netzwerk-Geräte
Anlage 2d IT-Inventarliste - Neuanschaffung intelligenter PDUs
Anlage 2e Monitoring Energie
Anlage 2f Monitoring IT-Last
Anlage 2f IT-Inventarliste - Kälteanlagen

## 2a_Server
IT inventory list - Appendix 2a (Server
General data | [5 empty] | Legende
Data Center: | [5 empty] | Voluntary additional information KPI4DCE (can be folded out via the [+])
Balance date from:
Balance date until:
Note: All information is given per device, even if this occurs more than once.
Number of identical devices | Date of Commissioning | Date of Decommissioning | Manufacturer | Modell | Nominal power without redundancy | Energy efficiency standard power supplies | Designation Server Benchmark | Server Benchmark | Planned useful life | Servertyp | Number of servers per chassis | Acquisition costs | Currency Acquisition cost | Number CPUs | Number of cores per CPU | RAM | Number of RAM modules | Quantity HDD | Quantity SSD | Number of redundant power supplies | Weight [kg] | Average CPU utilization | Average power consumption | Energy demand per year
[pcs] | [TT.MM.JJJJ] | [TT.MM.JJJJ] | [Text] | [Text] | [W/pc] | (80 PLUS xxx) | (for new servers: SPEC SERT 2: Eff_active) | [numeric value] | [years] | [Rack ¦ Blade] | (bei Blade-Server > 1) | [numerical value/unit] | [z.B. EUR ¦ USD] | [number/Stck]] | [numberl] | [GByte/Stck] | [number/unit]] | [number/unit]] | [number/unit]] | [number/unit]] | [kg/Stck]] | [%] | [W/Stck] | [kWh/Stck/a]
Number | Date of Commissioning | Date of Decommissioning | Manufacturer | Model name | Rated power | Netzeil Energy Standard | ServerBenchmarkName | ServerBenchmarkWert | Planned useful life | ServertypRack_Blade | NumServerProBladeHousing | Acquisition costPiece | Currency acquisition cost | NumberCPU | NumberofCoresperCPU | GByteRAM | NumberRAMModules | NumberHDD | Quantity SSD | QuantityPower supplies | Weight | Average CPU load | Average power consumption | Energy demand per year

## 2b_External storage systems
IT inventory list - Appendix 2b (external storage systems)
General data | [5 empty] | Legende
Data Center: | [5 empty] | Voluntary additional information KPI4DCE (can be folded out via the [+])
Balance date from:
Balance date until:
Note: All information is given per device, even if this occurs more than once.
Number of identical devices | Date of Commissioning | Date of Decommissioning | Manufacturer | Modell | Nominal power without redundancy | Storage capacity per device | Quantity HDD | Quantity SSD | Geplante Nutzungsdauer | Anschaffungskosten | Währung Anschaffungskosten | Anzahl Netzteile | Gewicht | Mittlere Belegung Speicherplatz | Mittlere Anzahl Speicherzugriffe pro Sekunde | Mittlere Datenmenge Lesen Schreiben pro Sekunde | Mittlere Leistungsaufnahme | Energiebedarf pro Jahr
[pcs] | [TT.MM.JJJJ] | [TT.MM.JJJJ] | [Text] | [Text] | [W/Stck] | [GByte/Stck] | [number/unit] | [number/unit] | [Jahre] | [Zahlenwert] | [z.B. EUR ¦ USD] | [Anzahl/Stck] | [kg/Stck] | [%] | [IO/s] | [GByte/s] | [W/Stck] | [kWh/a/Stck]
Quantity | DateCommissioning | DateOut of service | Manufacturer name | Model name | Nominal power | Memory capacityGByte | NumberHDD | NumberSSD | GeplanteNutzungsdauer | AnschaffungskostenProStueck | WaehrungAnschaffungskosten | AnzahlNetzteile | Gewicht | MittlereBelegungSpeicherplatz | MittlereAnzahlSpeicherzugriffeProSekundeIOPS | MittlereDatenmengeLesenSchreibenProSekunde | MittlereLeistungsaufnahme | EnergiebedarfProJahr

## 2c_Network devices
IT inventory list - Appendix 2c (network devices)
General data |  |  |  |  | Legende
Data Center: |  |  |  |  | Voluntary additional information KPI4DCE (can be folded out via the [+])
Balance date from:
Balance date until:
Note: All information is given per device, even if this occurs more than once.
Number of identical devices | Date of Commissioning | Date of Decommissioning | Manufacturer | Model | Nominal power without redundancy | Geplante Nutzungsdauer | Anschaffungskosten | Währung Anschaffungskosten | Anzahl Ports pro Gerät | Maximale Bandbreite pro Port | Netzwerkebene | Anzahl Netzteile | Gewicht | Mittlere genutzte Bandbreite interner Datenverkehr | Mittlere genutzte Bandbreite ewxterner Datenverkehr | Mittlere Leistungsaufnahme | Energiebedarf pro Jahr
[pcs] | [TT.MM.JJJJ] | [TT.MM.JJJJ] | [Text] | [Text] | [W/unit] | [Jahre] | [Zahlenwert] | [z.B. EUR ¦ USD] | [Anzahl/Stck] | [Mbit/s] | [intern, extern] | [Anzahl/Stck] | [kg/Stck] | [Mbit/s/Stck] | [Mbit/s/Stck] | [W/Stck] | [kWh/a/Stck]
Quantity | DateCommissioning | DateDecommissioning | Manufacturer name | Model name | Rated power | GeplanteNutzungsdauer | AnschaffungskostenProStueck | WaehrungAnschaffungskosten | AnzahlPorts | MaximaleBandbreiteProPort | Netzwerkebene | AnzahlNetzteile | Gewicht | MittlereGenutzteBandbreiteInternerDatenverkehr | MittlereGenutzteBandbreiteExternerDatenverkehr | MittlereLeistungsaufnahme | EnergiebedarfProJahr

## 2d_PDU
IT inventory list - Annex 2d (new acquisition of intelligent PDUs) to the energy efficiency report.
Documentation according to requirements 3.2.1.5 and 3.2.2 of the award criteria DE-UZ 214
General data | [5 empty] | Legende
Data Center: | [5 empty] | Mandatory information Final evaluation
Balance date from:
Balance date until:
Note: All information is given per device, even if this occurs more than once.
Number of identical devices | Date of Commissioning | Date of Decommissioning | Manufacturer | Model | Quantity Current outputs | Power dissipation
[pcs] | [TT.MM.JJJ] | [TT.MM.JJJ] | [Text] | [Text] | [number/unit] | [W/Stck]
Quantity | DateCommissioning | DateDecommissioning | Manufacturer name | Modellname | Numberofcurrentoutputs | Power dissipationTotal

## 2e_Energie_Monitoring
Monitoring Energy - Annex 2e to the Energy Efficiency Report
Documentation according to requirements 3.1.5 and 3.2.2 of the award criteria DE-UZ 214
General data | [5 empty] | Legende
Data Center: | [5 empty] | Mandatory information Application and final evaluation
Balance date from:
Balance date until: | [5 empty] | Voluntary additional information KPI4DCE
* The thermal cooling load is calculated in a simplified way by the sum of the electrical connected loads in the room to be cooled.
** The cooling work is the dissipated heat quantity Qth,RZ in the period under consideration. It is included in the calculation of the JAZ.
Month number | Year | Total power consumption data center | Peak load RZ total | Power consumption server | Peak load server | Electricity demand Storage | Peak load storage | Network power consumption | Peak load network | Power demand IT | Peak load IT | Power requirement cooling system | Peak load cooling system (electric) | Cooling load cooling system (thermal) | Cooling work Cooling system (thermal) | UPS power consumption (losses) | Peak load UPS | Power consumption losses PDU | Electricity demand Other | Fuel requirement | Type of fuel | PUE | JAZ
|  | MPEVU + MPEE | MPEVU + MPEE | MPIT2_SV | MPIT2_SV | MPIT2_St | MPIT2_St | MPIT2_NW | MPIT2_NW | MPIT2 | MPIT2 | MPKS | MPKS | (see **) | (see **) | MPUSV - MPIT1 | MPUSV | MPIT1 - MPIT2 | MPSo
[MM] | [JJJJ] | [kWhel] | [kWel] | [kWhel] | [kWel] | [kWhel] | [kWel] | [kWhel] | [kWel] | [kWhel] | [kWel] | [kWhel] | [kWel] | [kWth] | [kWhth] | [kWhel] | [kWel] | [kWhel] | [kWhel] | [kWh] | [Text] | [kWh/kWh] | [kWhth/kWhel]
Month number | Year | Electricity demandDCtotal | Peak loadDCtotal | Power requirementsServer | Peak LoadServer | Power requirementsStorage | Peak LoadStorage | Power demandNetwork | Peak Load Network | Power requirementsIT | Peak loadIT | Power requirementsCS | Peak loadCS | KuehllastKSth | Cooling load CS | Power demandLossesUSV | Peak load UPS | Power demandLossesPDU | Power requirementsOther | Fuel requirement | Fuel type | PUE | JAZ

## 2f_IT_Monitoring
Monitoring IT-Last - Anlage 2f
Allgemeine Angaben |  |  |  |  | Legende
Rechenzentrum: |  |  |  |  | Freiwillige ergänzende Angaben KPI4DCE
Bilanzdatum von:
Bilanzdatum bis:
Monatszahl | Jahr | Mittlere CPU-Auslastung (ITEUsv) | Mittlere Storage-Auslastung | Datenübertragung extern
[MM] | [JJJJ] | [%] | [%] | [Gbit]
Monatszahl | Jahr | MittelwertITEUsv | MittlereAuslastungStorage | ExterneDatenuebertragung

## 2g_refrigeration systems
IT inventory list - Annex 2g (refrigeration systems) to the energy efficiency report
Documentation according to requirements 3.1.5 and 3.2.2 of the award criteria DE-UZ 214
General data | [5 empty] | Legende
Data Center: | [5 empty] | Mandatory information Application and final evaluation
Balance date from:
Balance date until: | [5 empty] | Voluntary additional information KPI4DCE
Note: All information is given per device, even if this occurs more than once.
Number of identical devices | Date of Commissioning | Date of Decommissioning | Manufacturer | Model | Nominal electrical power [W] | Nominal power Refrigeration [W] | Acquisition costs | Currency Acquisition cost | Type of refrigerant | Refrigerant filling quantity | Evaporation type | Leakage rate per year | Water consumption per year | Water quality | Energy demand per year
[pcs] | [TT.MM.JJJJ] | [TT.MM.JJJJ] | [Text] | [Text] | [W_el] | [W_th] | [numeric value] | [e.g. EUR ¦ USD] | [R134a ¦ R290 (Propan) ¦ R32 ¦ R404A ¦ R407A ¦ R407C ¦ R744 (CO2)] | [kg/unit] | [Direct Evaporator ¦ Liquid Cooler] | [%] | [m³/unit] | [Drinking water ¦ ...] | [kWh]
Quantity | DateCommissioning | DateDecommissioning | Manufacturer name | Model lname | Nominal powerElectric | Nominal powerCold | Acquisition costPer unit | CurrencyAcquisition costs | RefrigerantType | RefrigerantFill quantity | Evaporation type | Leakage ratePer year | Water consumption per year | Water quality | Energy demand per year