|  |  |
| --- | --- |
| **Annex 5 to the contract**  **pursuant to DE-UZ 35  THIS ANNEX IS FOR: The operator of the waste water treatment plant *or* paper manufacturer** | **Please only use this form!** |

**Environmental label for “Wallpaper and Woodchip Wallpaper made from Recycled Paper”, indirect discharge, Paragraph 3.8.1.2**

To be completed by the applicant:

|  |  |
| --- | --- |
| **Paper manufacturer:**  (full address) |  |

Declaration by the operator of the waste water treatment plant or paper manufacturer:

We hereby declare that we have complied with the limits in the following table;  
  
Table 3-3 Maximum limits for the average annual emission parameters (waste water) in the paper production process

|  |  |  |
| --- | --- | --- |
| Parameter | Maximum limit for waste water emissions  (average annual value as a load or concentration) | |
|  | Paper factory with deinking | Paper factory without deinking |
| Volumetric flow rate of waste water | < 25 m3/Adt | < 20 m3/Adt |
| COD | < 3 kg/Adt | < 1.2 kg/Adt |
| BSB5 | < 0.15 kg/Adt or <25 mg/l | |
| AOX | < 0.04 kg/Adt | |
| Total N (inorganic + organic N) (TNb) | 0.15 kg/Adt or 15 mg/l | |
| Total P | 0.015 kg/Adt or 1.5 mg/l | |

Adt = air dried ton

TNb = total nitrogen bound. This parameter defines the total pollution of water by nitrogen compounds, which can appear in the form of e.g. ammonia, nitrites, nitrates or organic nitrogen compounds. A suitable method for determining this parameter is described in DIN EN 12260.

|  |  |  |  |
| --- | --- | --- | --- |
| **Location:** |  |  |  |
|  |  |  |
| **Date:** |  |  |

**Legally binding signature / company stamp**